# SOILS REPORT

Firm: Alpha Testing

## Analysis

- Soil Type: Fat Clay (CH) with high plasticity

- Topography: Flat

- Foundation: Drilled Piers into Limestone Bedrock (20’ depth)

- PVR: 4-6 inches (requires carton forms)

- Soil Conditions: Expansive Clay, req Piles

- Recommendation: Suitable bearing capacity, no special foundation requirements beyond piers.